## Slide 1: Model Simulation Results For BVGCD Permits Issued in the Simsboro Aquifer since last DFC Update
Brazos Valley
Groundwater Conservation District
July 13, 2023
DRAFT

## Slide 2: Purpose of Run
GMA 12 Joint Planning - Preparation for DFC discussions
How to proceed in the next planning cycle
DRAFT

## Slide 3: Assumption for Simulation (V2)
“S-19” well file used as base pumping with GAM V3.02
No other changes to pumping in GMA 12
For BVGCD permits approved since S-19, the full permit volume was produced starting in 2025
Permits included:
Updated Upwell
Trey Skiles
James Brien
Robertson County WSC
Wickson Creek SUD – Well 9
City of Calvert
Corpora Farms
Badgerjack Resource Holdings, L.P.
High Timber Resources, L.P.
DRAFT

## Slide 4
Simulated
BVGCD
Simsboro
Aquifer
Permitted
Well
Locations
DRAFT

## Slide 5
DRAFT

## Slide 6
Simulated
Simsboro
Aquifer
Drawdown
2000-2070
(BVGCD Overview)
S19
S19 Plus
(Version 2)
Drawdown Contour (ft)
Contour Interval = 20 feet
DRAFT

## Slide 7
S19
S19 Plus
(Version 2)
Simulated
Simsboro
Aquifer
Drawdown
2000-2070
Drawdown Contour (ft)
Contour Interval = 20 feet
DRAFT

## Slide 8
Additional
Drawdown
In the Simsboro Aquifer
Due to Permitted Pumping Issued Following the Development of the S19 Well File
Drawdown Difference Contour (ft)
Contour Interval = 20 feet
Additional Drawdown = S19 Plus (Version 2) – S19
DRAFT

## Slide 9
S19
Head Contour (ft, rsl)
Contour Interval = 50 feet
Simulated
Simsboro
Aquifer
Water Level
/Head
Elevations
at 2070
S19 Plus
(Version 2)
DRAFT

## Slide 10: Average Simulated BVGCD Drawdown Through Time
93
105
119
156
256
356
174
247
DFC: 84
DFC: 167
DFC: 262
DFC: 111
DRAFT